| # MatriX-RST50S |  |
| --- | --- |

| # OPTIC OPTIONS |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # 7˚ | # 15˚ | # 25˚ |  |  |  |  |  |  |  |  |  |  |  |

| # SPECIFICATIONS AVAILABLE FOR RST50S |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # Sample Part Number: RST50S-3W-1K-K27-D24-7D-CL-Y2-N |  |  |  |  |  |  |  |  |  |
| # FIXTURE TYPE | # WATTAGE | # LEDS | # CCT. | # INPUT VOLTAGE | # BEAM ANGLE | # CONTROL | # ANTI-GLARE ACCESSORIES | # BRACKET | # OPTIONS/ CUSTOMIZATION* |
|  | # 3W | # 1K LEDs x 1 | # K27 2700K # K30 3000K # K40 4000K # K57 5700K # K60 6000K | # D24 24VDC # D12 12VDC | # 7D 7˚ # 15D 15˚ # 25D 25˚ | # CL On-Off | # Y2 Honeycomb Louvre | # N None | # RAL# Custom RAL# |

| SPECIFICATION |  |  |  |
| --- | --- | --- | --- |
| ELECTRICAL | Input Voltage | 24VDC ¦ 12VDC(External PSU, build-in LED driver) |  |
|  | Typical Power Consumption | Max.3W ±10% |  |
| OPTICAL | Light Source | High Power LED |  |
|  | Color Variants | Mono: 2700K ¦ 3000K ¦ 4000K (Ra.≥80); 5700K ¦ 6000K Ra.≥70 (SDCM ≤ 5) |  |
|  | Beam Angle (FWHM) | 7˚ ¦ 15˚ ¦ 25˚ (LEDs x 1) |  |
|  | Efficacy (lm/W) | 23 (±10%) |  |
| CONTROL | Operating Modes | On-Off |  |
| PHYSICAL | Width x Height x Depth ¦ Weight | 71mm (L) x 71mm (W) x 50mm (H) ¦ 0.25kg |  |
|  | Housing | Body: Die Casting ADC12 |  |
|  |  | Cover: Tempered Glass |  |
|  | Optical Material | PC |  |
|  | Finish Options | Standard Color | Graphite Black RAL 9011 |
|  |  | Cost Option | Custom RAL # |
|  | Cables / Connections | ON/OFF |  |
|  |  | 2 Core Cable Wire Lead (2x0.75mm² Cable Power IN) |  |
|  | Mounting Method | Surface Mounting |  |
|  | Protection Factor | Class III |  |
|  | IP ¦ IK Rating | IP66 ¦ IK06 |  |
|  | Operating Ambient Temperature | −20°C ~ +55°C |  |
| CERTIFICATION | Listings | CE, RoHS |  |
| ACCESSORIES | Not Included Items | Anti-glare parts (Code) |  |
|  | Honeycomb Louvre | Y2 |  |

| PHOTOMETRIC DATA |  |  |  |
| --- | --- | --- | --- |
| Beam Angle (FWHM): 7˚ | Beam Angle (FWHM): 15˚ | Beam Angle (FWHM): 25˚ |  |

DIMENSIONS